VOLUME 4.2

FINANCIAL OFFER TEMPLATES

LUMP SUM CONTRACTS

Content

4.2.1 — Introduction

4.2.2 — Summary

4.2.3 — Breakdown of the lump-sum price

4.2.4 — Daily work schedule

4.2.5 — Detailed breakdown of prices

VOLUME 4.2.1 — INTRODUCTION

1. 	General

1.1	The breakdown of the lump-sum price (Volume 4.2.3) is the itemised list of prices showing the build-up of the price in a lump-sum contract. This breakdown of the lump-sum price does not derogate in any way to the clause stating that, in a lump-sum contract, the total contract price remains fixed irrespective of the quantity of work actually carried out.

The amounts due will be calculated:

The breakdown must coincide with the payment-definition chosen in Article 49 of the special conditions: by the tranches specified in Article 49.1 of the special conditions

1.2	The detailed breakdown of prices (Volume 4.2.5) is the list which contains the basic costs, net costs and mark-ups, from which each price on the breakdown of the lump-sum price and on the daywork schedule results. The detailed breakdown of prices does not derogate in any way to the clause according to which, in a lump-sum contract, the total contract price remains fixed irrespective of the quantities of work actually carried out.

The detailed breakdown of prices provides the coefficients for applying the price revision formula referred to in Article 48.2 of the special conditions and can provide the basis for valuation of additional work ordered referred to in Article 37.5 of the general conditions.

1.3	Provisional sums for use when works are to be executed on a daywork basis (Volume 4.2.4) can only be executed by administrative order of the supervisor, in accordance with the terms of the contract.

2.	Specific to Volumes 4.2.2, 4.2.3 and 4.2.4

2.1	The item description given in the breakdown of the lump-sum price in no way limits the contractor’s obligations under the contract to provide all the works described elsewhere.

2.2	The prices of the breakdown of the lump-sum price include all incidental and contingent expenses and all risks necessary to construct, complete and maintain all works in accordance with the contract. Unless separate items are provided in the breakdown of the lump-sum price, prices include all costs involved in the various items of the breakdown.

2.3	The lump–sum price and the prices of the breakdown of the lump-sum price and of the daywork schedule are all-inclusive and include any non-exonerated tax or fiscal duty.

2.4	The unit prices in Volumes 4.2.3 and 4.2.4 are obtained by multiplying the net cost of Volume 4.2.5 - Table D, on the one hand, with the coefficient K, on the other hand.

The coefficient K represents the proportions between the Site costs (Fc) of Volume 4.2.5 - Table E and the Total net costs (Ps) and between the General costs (Fg) of Volume 4.2.5 - Table F and the Contract price (Pv): K = (1+A)/(1-B) whereby

A= Fc/Ps

B =Fg/Pv

VOLUME 4.2.2 — SUMMARY

| Description | Amount [EUR] [local currency] |
| --- | --- |
| Total of lump-sum price |  |
| Total of dayworks — provisional sum |  |
| TOTAL PRICE |  |

VOLUME 4.2.3 — BREAKDOWN OF THE LUMP-SUM PRICE

| Item | DESCRIPTION | U.M | QUANT |  | UNIT PRICE |  | Lump-sum price [EUR] |
| --- | --- | --- | --- | --- | --- | --- | --- |

| II | PREPARATORY WORKS AND DEMOLITION WORKS |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 2.1. | Installation of a construction site board |  |  |  |  |  |  |
|  | Calculation – flat-rate | flat r. | 1.00 | х |  | = | - |
| 2.2. | Cleaning and removal of waste in the ground floor and basement of the building – the building is currently in a ruined state, so it is necessary to first clean the waste present there. The waste should be transported to a landfill. |  |  |  |  |  |  |
|  | Calculation – flat-rate | flat r. | 1.00 | x |  | = | - |
| 2.3. | Removal of existing woodwork from the building |  |  |  |  |  |  |
|  | Calculation per unit | unit | 6.00 | x |  | = | - |
| 2.4. | Removal of internal plaster on walls that is in poor condition |  |  |  |  |  |  |
|  | Calculation per m² | m2 | 300.00 | x |  | = | - |
| 2.5. | Removal of internal plaster in poor condition from parts of the ceiling made of monolithic reinforced concrete slab |  |  |  |  |  |  |
|  | Calculation per m² | m2 | 30.00 | x |  | = | - |
| 2.6. | Removal of external plaster on the exterior walls, 3-4 cm thick, that is in poor condition (to ensure a good bond between the brick exterior walls and the thermal insulation cladding) |  |  |  |  |  |  |
|  | Calculation per m² | m2 | 240.00 | x |  | = | - |
| 2.7. | Cutting and removal to the landfill of high and medium deciduous vegetation that has grown in the atrium |  |  |  |  |  |  |
|  | Calculation – flat-rate | flat r. | 1.00 | x |  | = | - |
| 2.8. | Demolition of non-load-bearing internal walls made of bricks and masonry blocks, including parts of these walls to create new openings |  |  |  |  |  |  |
|  | Calculation per m² | m2 | 17.50 | x |  | = | - |
| 2.9. | Demolition of parts of load-bearing internal walls made of bricks to create new openings, and reinforcement with reinforced concrete elements if necessary |  |  |  |  |  |  |
|  | Calculation per m² | m2 | 47.50 | x |  | = | - |
| 2.10. | Removal of existing sewerage installations |  |  |  |  |  |  |
|  | Calculation – flat-rate | flat r. | 1.00 | x |  | = | - |
| 2.11. | Cleaning and removal of resulting rubble. Transport the rubble to a landfill. |  |  |  |  |  |  |
|  | Calculation – flat-rate | flat r. | 1.00 | x |  | = | - |
|  | Total preparation works: |  |  |  |  |  | - |
| III | CONCRETE WORK |  |  |  |  |  |  |
| 3.1. | Concrete work, specifically repairing the concrete floor in the atrium of the building |  |  |  |  |  |  |
|  | Calculation per m² | m² | 11.00 | x |  | = | - |
|  | Total concrete work: |  |  |  |  |  | - |

| IV | MASONRY WORKS |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 4.1. | Sealing certain openings of the building with brick blocks using an extended mortar mix of 1:3:9, in full accordance with the project plan |  |  |  |  |  |  |
|  | Calculation per m² | m² | 15.50 | x |  | = | - |
|  | Total masonry works: |  |  |  |  |  | - |
| V | VARIOUS MASONRY WORKS |  |  |  |  |  |  |
| 5.1. | Installation (procurement and installation) of horizontal waterproofing for the basement floor of the ground level |  |  |  |  |  |  |
|  | Calculation per m² | m² | 155.00 | x |  | = | - |
| 5.2. | Installation of vertical waterproofing on basement walls |  |  |  |  |  |  |
|  | Calculation per m² | m² | 40.00 | x |  | = | - |
| 5.3. | Installation of horizontal thermal insulation made of polystyrene, thickness 5 cm, on the ground floor |  |  |  |  |  |  |
|  | Calculation per m² | m² | 140.00 | x |  | = | - |
| 5.4. | Construction of a cement screed, 4-5 cm thick, in the basement and on the ground floor of the building |  |  |  |  |  |  |
|  | Calculation per m² | m² | 155.00 | x |  | = | - |
| 5.5. | Construction of protection for vertical waterproofing on basement walls with a 'cladding' wall—bricks 'on edge,' 6.5 cm thick |  |  |  |  |  |  |
|  | Calculation per m² | m² | 20.00 | x |  | = | - |
| 5.6. | Installation of a waterproofing membrane on the flat accessible roof of the building, with a transition at all parapets |  |  |  |  |  |  |
|  | Calculation per m² | m² | 190.00 | x |  | = | - |
| 5.7. | Installation of a thermal insulation layer made of polystyrene, 5 cm thick, on the flat accessible roof |  |  |  |  |  |  |
|  | Calculation per m² | m² | 146.00 | x |  | = | - |
| 5.8. | Construction of a sloping layer in the form of a cement screed, 4-10 cm thick, on the flat accessible roof of the building |  |  |  |  |  |  |
|  | Calculation per m² | m² | 146.00 | x |  | = | - |
| 5.9. | Construction of a cement screed, 4 cm thick, on the exterior—at the building’s porches and access staircases—as a base for anti-slip ceramic tiles |  |  |  |  |  |  |
|  | Calculation per m² | m² | 16.00 | x |  | = | - |
| 5.10. | Construction of partition walls for the future sanitary facility using drywall panels (Knauf system), 1.25 cm thick |  |  |  |  |  |  |
|  | Calculation per m² | m² | 29.00 | x |  | = | - |
| 5.11. | Construction of a ceiling using drywall panels (Knauf system), 1.25 cm thick, in parts of the ground floor ceiling where drywall panels are planned. |  |  |  |  |  |  |
|  | Calculation per m² | m² | 70.00 | x |  | = | - |
| 5.12. | Treatment of the ground floor ceiling structure of the 'Avramenko' type in areas where this ceiling structure remains visible. The treatment involves cleaning, i.e., 'wiping,' and possibly spraying with a specific material. |  |  |  |  |  |  |
|  | Calculation per m² | m² | 95.00 | x |  | = | - |
|  | Total various masonry works: |  |  |  |  |  | - |
| TOTAL: |  |  |  |  |  |  | - |
|  | RECAPITULATION: |  |  |  |  |  |  |
| II | PREPARATION WORK AND DEMOLITION WORK |  |  |  |  |  | - |
| III | CONCRETE WORKS |  |  |  |  |  | - |
| IV | MASONRY WORKS |  |  |  |  |  |  |
| V | VARIOUS MASONRY WORKS |  |  |  |  |  | - |
|  | T O T A L : |  |  |  |  |  | - |

1.6.2. PRELIMINARY ESTIMATE – PHASE II FINAL WORKS

| POS. | POSITION DESCRIPTION | U.M | QUANT |  | UNIT PRICE |  | TOTAL |
| --- | --- | --- | --- | --- | --- | --- | --- |

| VI | CARPENTRY WORKS |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 6.1. | Procurement and installation of exterior double-leaf entry doors made of aluminum profiles, dimensions 217 x 210 + 45 cm. The right leaf is smaller, with dimensions 100 x 210 + 45 cm. Material, construction, details, and fittings are to be in accordance with the manufacturer's technology. |  |  |  |  |  |  |
|  | Calculation per unit | unit | 1.00 | x |  | = | - |
| 6.2. | Procurement and installation of a glass portal made of aluminum profiles, dimensions 241 x 255 cm, with a single-leaf door measuring 90 x 210 + 45 cm, facing the atrium. Material, construction, details, and fittings are to be in accordance with the manufacturer's technology. |  |  |  |  |  |  |
|  | Calculation per unit | unit | 1.00 | x |  | = | - |
| 6.3. | Procurement and installation of a fixed glass portal made of aluminum profiles, dimensions 200 x 240 cm. Material, construction, details, and fittings are to be in accordance with the manufacturer's technology. |  |  |  |  |  |  |
|  | Calculation per unit | unit | 2.00 | х |  | = | - |
| 6.4. | Procurement and installation of exterior folding glass balcony doors, dimensions 431 x 255 cm. Material, construction, details, and fittings are to be in accordance with the manufacturer's technology. |  |  |  |  |  |  |
|  | Calculation per unit | unit | 1.00 | x |  | = | - |
| 6.5. | Procurement and installation of an aluminum double-leaf window, dimensions 318 x 240 cm. One leaf is fixed, while the other is tilt-and-turn. Material, construction, details, and fittings are to be in accordance with the manufacturer's technology. |  |  |  |  |  |  |
|  | Calculation per unit | unit | 1.00 | х |  | = | - |
| 6.6. | Procurement and installation of a glass portal made of aluminum profiles, dimensions 405 x 300 cm, with an opening window. Material, construction, details, and fittings are to be in accordance with the manufacturer's technology. |  |  |  |  |  |  |
|  | Calculation per unit | unit | 1.00 | x |  | = | - |
| 6.7. | Procurement and installation of a glass portal made of aluminum profiles, dimensions 160 x 300 cm, with an opening window. Material, construction, details, and fittings are to be in accordance with the manufacturer's technology. |  |  |  |  |  |  |
|  | Calculation per unit | unit | 1.00 | х |  | = | - |
| 6.8. | Procurement and installation of an aluminum single-leaf window, dimensions 176 x 140 cm, with a tilt-and-turn function. Material, construction, details, and fittings are to be in accordance with the manufacturer's technology. |  |  |  |  |  |  |
|  | Calculation per unit | unit | 1.00 | х |  | = | - |
| 6.9. | Procurement and installation of aluminum single-leaf glass entry doors, dimensions 100 x 210 + 90 cm. Material, construction, details, and fittings are to be in accordance with the manufacturer's technology. |  |  |  |  |  |  |
|  | Calculation per unit | unit | 1.00 | х |  | = | - |
| 6.10. | Procurement and installation of garage doors in the prepared opening of 220 x 230 cm. The type of garage doors will be determined with the investor. Material, construction, details, and fittings are to be in accordance with the manufacturer's technology. |  |  |  |  |  |  |
|  | Calculation per unit | unit | 1.00 | x |  | = | - |

| 6.11. | Procurement and installation of internal aluminum doors, dimensions 80 x 210 cm, for sanitary areas. Fittings are to be in accordance with the manufacturer's technology . |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | Calculation per unit | unit | 3.00 | х |  | = | - |
| 6.12. | Procurement and installation of internal glass doors made of aluminum profiles, dimensions 94 x 210 + 40 cm, for the office. Fittings are to be in accordance with the manufacturer's technology . |  |  |  |  |  |  |
|  | Calculation per unit | unit | 1.00 | x |  | = | - |
| 6.13. | Procurement and installation of internal aluminum doors, dimensions 90 x 210 + 40 cm, for the kitchenette. Fittings are to be in accordance with the manufacturer's technology . |  |  |  |  |  |  |
|  | Calculation per unit | unit | 1.00 | х |  | = | - |
| 6.14. | Procurement and installation of exterior aluminum doors for the room on the upper floor, dimensions 87 x 171 cm. Fittings are to be in accordance with the manufacturer's technology. |  |  |  |  |  |  |
|  | Calculation per unit | unit | 1.00 | x |  | = | - |
| 6.15. | Procurement and installation of a single-leaf aluminum window, dimensions 89 x 110 cm, with a tilt function. Material, construction, details, and fittings are to be in accordance with the manufacturer's technology . |  |  |  |  |  |  |
|  | Calculation per unit | unit | 1.00 | x |  | = | - |
| 6.16. | Procurement and installation of a double-leaf aluminum window, dimensions 197 x 105 cm, with both leaves opening. Material, construction, details, and fittings are to be in accordance with the manufacturer's technology. |  |  |  |  |  |  |
|  | Calculation per unit | unit | 1.00 | x |  | = | - |
| Total carpentry works |  |  |  |  |  |  |  |
| VII | PLASTERING |  |  |  |  |  |  |
| 7.1. | Plastering of internal walls and ceilings in the building. All openings' surfaces have been excluded in the calculation. |  |  |  |  |  |  |
|  | Calculation per m² | m² | 320.00 | x |  | = | - |
|  | Total plastering: |  |  |  |  |  | - |
| VIII | TILING WORKS |  |  |  |  |  |  |
| 8.1. | Procurement and installation of floor tiles in internal spaces, on adhesive, with grout joints aligned. |  |  |  |  |  |  |
|  | Calculation per m² | m² | 140.00 | x |  | = | - |
| 8.2. | Procurement and installation of interior wall tiles, on adhesive, with grout joints aligned. Wall tiles are to be installed from floor to ceiling. |  |  |  |  |  |  |
|  | Calculation per m² | m² | 45.00 | x |  | = | - |
| 8.3. | Procurement and installation of anti-slip floor tiles on the accessible roof of the building and at the staircases. |  |  |  |  |  |  |
|  | Calculation per m² | m² | 155.00 | x |  | = | - |
| 8.4. | Procurement and installation of exterior floor tiles on porches, access staircases, and in the atrium. The tiles must be anti-slip. |  |  |  |  |  |  |
|  | Calculation per m² | m² | 27.00 | x |  | = | - |
| 8.5. | Treatment of the interior side of the parapets with a specific material. |  |  |  |  |  |  |
|  | Calculation per m² | m² | 18.00 | x |  | = | - |
|  | Total tiling works: |  |  |  |  |  | - |

| IX | PAINTING AND DECORATING WORK |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 9.1. | Skimming of walls and ceilings |  |  |  |  |  |  |
|  | Calculation per m² | m² | 350.00 | x |  | = | - |
| 9.2. | Painting of interior walls and ceilings with dispersion paint in a tone of choice. |  |  |  |  |  |  |
|  | Calculation per m² | m² | 350.00 | x |  | = | - |
|  | Total painting and decorating work: |  |  |  |  |  | - |
| X | FACADE WORK AND THERMAL INSULATION WORK |  |  |  |  |  |  |
| 10.1. | Procurement and installation of 'demit' facade with thermal insulation made of polystyrene, thickness 5-10 cm. The price includes preparation, procurement, and installation of the facade in a color of choice. |  |  |  |  |  |  |
|  | Calculation per m² | m² | 218.00 | x |  | = | - |
| 10.2. | Procurement and installation of facade details made of perforated metal in a pattern recommended by the designer, with substructure. |  |  |  |  |  |  |
|  | Calculation per m² | m² | 30.00 | x |  | = | - |
|  | Total façade work: |  |  |  |  |  | - |
| XI | METALWORK |  |  |  |  |  |  |
| 11.1. | Procurement and installation of a metal railing for the staircase, in accordance with the project. |  |  |  |  |  |  |
|  | Calculation per m' | m' | 6.00 | x |  | = | - |
| 11.2. | Procurement and installation of a metal railing for the accessible flat roof, in accordance with the project. The height of the railing is 90 cm. |  |  |  |  |  |  |
|  | Calculation per m' | m' | 17.50 | x |  | = | - |
| 11.3. | Procurement and installation of a metal railing for the parapets of the accessible flat roof, in accordance with the project. The height of the railing is 55-60 cm. |  |  |  |  |  |  |
|  | Calculation per m' | m' | 44.00 | x |  | = | - |
|  | Total metalwork: |  |  |  |  |  | - |
| XII | SHEET METAL WORK |  |  |  |  |  |  |
| 12.1. | Fabrication of metal cladding for all parapets of the building's roof. The price includes procurement, fabrication, and installation of these metal elements. |  |  |  |  |  |  |
|  | Calculation per m' | m' | 17.00 | x |  | = | - |
| 12.2. | Installation of vertical downpipes made of coated metal in a color of choice. The price includes procurement and installation of the downpipe. |  |  |  |  |  |  |
|  | Calculation per m' | m' | 16.00 | x |  | = | - |
|  | Total sheet metal work: |  |  |  |  |  | - |
| XIII | PLUMBING |  |  |  |  |  |  |
| 13.1. | Internal plumbing and sewage distribution up to the shafts |  |  |  |  |  |  |
|  | Calculation-flat-rate | flat r. | 1.00 | x |  | = | - |
|  | Total plumbing work: |  |  |  |  |  | - |
| XIV | ELECTRICAL INSTALLATION WORK |  |  |  |  |  |  |
| 14.1. | Internal electrical wiring |  |  |  |  |  |  |
|  | Calculation-flat-rate | flat r. | 1.00 | x |  | = | - |
|  | Total electrical installation work: |  |  |  |  |  | - |

| XV | TELECOMMUNICATION AND SIGNALING INSTALLATION WORK |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 15.1. | Internal distribution of telecommunications and signaling installations |  |  |  |  |  |  |
|  | Calculation-flat-rate | flat r. | 1.00 | x |  | = | - |
|  | Total telecommunication and signaling installation work: |  |  |  |  |  | - |
| XVI | PROCUREMENT AND INSTALLATION OF A MOVABLE PERGOLA |  |  |  |  |  |  |
| 16.1. | Procurement and installation of a retractable pergola on the accessible flat roof to create a future seating area with a view of the lake for visitors waiting for their turn to fly in a balloon |  |  |  |  |  |  |
|  | Calculation-flat-rate | flat r. | 1.00 | x |  | = | - |
|  | Total – furniture procurement: |  |  |  |  |  | - |
| XVII | FURNITURE PROCUREMENT |  |  |  |  |  |  |
| 17.1. | Furniture procurement |  |  |  |  |  |  |
|  | Calculation-flat-rate | flat r. | 1.00 | x |  | = | - |
|  | Total - Furniture procurement: |  |  |  |  |  | - |
| XVIII | SUPERVISION DURING THE EXECUTION OF WORK |  |  |  |  |  |  |
| 18.1. | Supervision during the execution of work |  |  |  |  |  |  |
|  | Calculation per number of months of work execution | month | 2.00 | x |  | = | - |
|  | Total- supervision during the execution of work: |  |  |  |  |  | - |
|  | RECAPITULATION: |  |  |  |  |  |  |
| VI | CARPENTRY |  |  |  |  |  | - |
| VII | PLASTERING |  |  |  |  |  | - |
| VIII | TILING |  |  |  |  |  | - |
| IX | PAINTING AND DECORATING WORK |  |  |  |  |  | - |
| X | FACADE WORK |  |  |  |  |  | - |
| XI | METALWORK |  |  |  |  |  |  |
| XII | SHEET METAL WORK |  |  |  |  |  | - |
| XIII | PLUMBING |  |  |  |  |  | - |
| XIV | ELECTRICAL INSTALLATION WORK |  |  |  |  |  | - |
| XV | TELECOMMUNICATION AND SIGNALING INSTALLATION WORK |  |  |  |  |  |  |
| XVI | PROCUREMENT AND INSTALLATION OF A MOVABLE PERGOLA |  |  |  |  |  |  |
| XVII | FURNITURE PROCUREMENT |  |  |  |  |  |  |
| XVIII | SUPERVISION DURING THE EXECUTION OF WORK |  |  |  |  |  |  |
|  | TOTAL LUMP SUM: |  |  |  |  |  | - |

VOLUME 4.2.4 — DAYWORK SCHEDULE

| Item | Description | Unit | Unit price | Estimated quantities | Provisional sum [EUR] [local currency] |
| --- | --- | --- | --- | --- | --- |
|  | Labour |  |  |  |  |
|  | Materials |  |  |  |  |
|  | Equipment |  |  |  |  |
|  | Total dayworks provisional sum |  |  |  |  |

VOLUME 4.2.5 — DETAILED BREAKDOWN OF PRICES

A) Breakdown of the basic prices for labour 
(converted into local currency or €/hour)

| No | Qualification | Monthly pay (1) | Hourly pay (2) | Overtime (3) | Soc. security contributions (4) | Travel time (5) | Hourly total (6) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| A1 | Labourer, Cat 1 |  |  |  |  |  |  |
| A2 | Skilled worker, Cat. 3 |  |  |  |  |  |  |
| A3 | Skilled worker, Cat. 5 |  |  |  |  |  |  |
| A4 | Foreman, Cat. 7 |  |  |  |  |  |  |
| A5 | Site manager |  |  |  |  |  |  |
| A6 | HGV driver |  |  |  |  |  |  |
| A7 | Heavy plant driver |  |  |  |  |  |  |
| A8 | Clerk of works |  |  |  |  |  |  |
| A9 | Mechanic, Cat. 7 |  |  |  |  |  |  |
| A9 | Land surveyor |  |  |  |  |  |  |
| A10 | Planning draughtsman |  |  |  |  |  |  |
| A11 | … |  |  |  |  |  |  |

The above list is given by way of example and is not exhaustive.

- Salary if the employee is paid monthly.

- Hourly pay if the employee is paid hourly, otherwise monthly salary divided by the legal working hours (… hours/month).

- Average cost of overtime, i.e. hourly pay times the overtime coefficient.

Average coefficient to be applied to the salary to take account of overtime......... (= total gross salary/gross salary without overtime).

- Percentage of the social security contributions (including social welfare, leave, etc.) times the gross salary (this percentage may vary according to the category of employee).

- Average monthly or daily travel time divided by the number of daily or monthly legal working hours.

(6)	= (2) + (3) + (4) + (5).

Done at …………………………………

The tenderer (signature)

B) Breakdown of basic supply prices for materials and consumables
(in local currency or €/unit)

| No | Description | Unit | Origin (1) | Unit price origin (2) | Transport to site (3) | Tax, duties and other charges (4) | Losses |  | Total (6) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  | % | Value (5) |  |
| C1 | Gasoil | L |  |  |  |  |  |  |  |
| C2 | Aggregates for concrete | m3 |  |  |  |  |  |  |  |
| C3 | Sand for concrete 2/4 | m3 |  |  |  |  |  |  |  |
| C4 | Cement | T |  |  |  |  |  |  |  |
| C5 | Steel for reinforced concrete | Kg |  |  |  |  |  |  |  |
| C6 | Annealed wire | Kg |  |  |  |  |  |  |  |
| C7 | Timber formwork | m2 |  |  |  |  |  |  |  |
| C8 | Plywood | m2 |  |  |  |  |  |  |  |
| C9 | Plasticisers | Kg |  |  |  |  |  |  |  |
| C10 | Concrete coating | Kg |  |  |  |  |  |  |  |
| C11 | Asphalt concrete | T |  |  |  |  |  |  |  |
| C13 | Inspection ladders | U |  |  |  |  |  |  |  |
| C14 | Fencing | ml |  |  |  |  |  |  |  |
| C15 | Traffic signs | U |  |  |  |  |  |  |  |
| C16 | … |  |  |  |  |  |  |  |  |

This list is not exhaustive.

- Geographical location of the supplier or quarry.

- Supply or cost price at the quarry or on delivery in the country.

- Cost price of transport from the quarry or delivery in the country to the site.

- To be borne by the firm.

- Any losses or breakages to be determined by the tenderer.

- Basic prices for supply of materials: (6) = (2) + (3) + (4) + (5).

Done at ………………………………

The tenderer (signature)

C) Breakdown of basic hourly prices for equipment 
(in local currency or €/hour)

| No | Description | Purchase date of equipment | Replacement value (RV) (1) | Duties Taxes (2) | RV + taxes (3) | nb days useful life (4) | Depreciation /day (5) | Fuel cost/day (6) | Lubricant cost/day (7) | Spare parts (SP) cost /day (8) | Lubricant & SP taxes/day (9) | Labour cost/day (10) | Total /day (11) | Average daily working time (12) | Total /hour (13) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B1 | D8N bulldozer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| B2 | 14G grader |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| B3 | CAT-type crawler excavator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| B4 | CAT wheeled excavator |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| B5 | Trencher type … |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| B5 | Pump |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| B6 | Concrete vibrating poker |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| B7 | … |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

- Estimated purchase price (excl. tax) of a piece of equipment of same kind, but new, purchased in the country’s capital at the end of machine life span.

- Duties and taxes charged to the contractor at the purchase date.

- = (1)+(2)

(4)	Number of depreciation years by number of days worked per year.

(5)	Daily depreciation = (3)/(4).

(6)	Average daily fuel consumption; the cost of the fuel is given with tax.

(7)	Daily cost of lubricants (excl. tax).

(8)	Daily cost of spare parts (excl. tax).

- Duties and taxes charged to the contractor on lubricants and spare parts

- Manpower price (man/day).

- Daily basic prices of piece of equipment = (5)+(6)+(7)+(8)+(9)+(10).

- Hours of operations (average)

- Hourly operational price of piece of equipment = (11)/(12)

Done at ………………………………….

The tenderer (signature)

D) Breakdown of unit prices in the price schedule
 (in local currency or €)

No of the unit price:	Output per day: m³/day

Designation of the unit price:

Quantities estimated:

| COMPONENTS OF THE PRICE EQUIPMENT, SUPPLIES AND SUBCONTRACTED WORKS DESIGNATION | Quantity or time using h/day (Q) | U | EQUIPMENT |  |  |  |  | LABOUR |  | TOTALS €/day |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | DEPRECIATION €/h (1) | MAINTENANCE €/h (2) | FUEL-LUBRICANTS €/h (3) | TOTAL €/day Qx(1+2+3) |  | Unit price | TOTAL €/day |  |
| EQUIPMENT |  | h |  |  |  |  |  |  |  |  |
|  |  | h |  |  |  |  |  |  |  |  |
| MATERIALS |  |  |  |  |  |  |  |  |  |  |
|  |  | h |  |  |  |  |  |  |  |  |
| LABOUR |  | h |  |  |  |  |  |  |  |  |
|  |  | h |  |  |  |  |  |  |  |  |
|  |  |  |  | TOTAL €/day |  |  |  |  |  |  |
|  |  |  |  | Net cost €/m³ |  |  |  |  |  |  |

E) Detailed breakdown of site costs (Fc) 
(in local currency or €)

| Means deployed | Number (1) | Basic price (2) | Total net cost (3)=(1)+(2) |  |
| --- | --- | --- | --- | --- |
| Labour |  |  |  |  |
| A1 Site supervisor A2 Engineer A3 Clerk of works A4 Secretary A5 Drivers A6 Orderlies A7 |  |  |  |  |
| Subtotal labour |  |  |  |  |
| Equipment |  |  |  |  |
| B1 4x4 vehicle B2 Saloon car B3 Van-type people carrier B4… |  |  |  |  |
| Subtotal equipment |  |  |  |  |
| Materials |  |  |  |  |
| C1 Gasoil C2… |  |  |  |  |
| Subtotal materials |  |  |  |  |
| Other |  |  |  |  |
| D1 Rentals D2 Telephone D3… |  |  |  |  |
| Subtotal other |  |  |  |  |
| GENERAL TOTAL |  |  |  |  |

F) Detailed breakdown of the general costs (Fg)
(general overheads and profits)

| No |  | % of the bid |
| --- | --- | --- |
| 1 | Financial charges |  |
| 2 | Insurance premiums |  |
| 3 | Guarantee costs |  |
| 4 | Price revision |  |
| 5 | Direct taxes |  |
| 6 | Other expenses |  |
| 7 | Penalties |  |
| 8 | Contingencies |  |
| 9 | Office and agency expenses |  |
| 10 | Net profits |  |
| 11 | Corporation taxes |  |
| GENERAL TOTAL |  |  |

1.	Financial charges are expenses incurred outside the production process (project start-up, overdrafts, etc.).

2.	Insurance is the insurance described in Article 14 of the general conditions for works contracts.

3.	Guarantee costs are the bank charges for issuing the guarantee (advance, performance, retention guarantee, etc.)

4.	Firms may or may not make provision under this heading, depending on their judgment concerning the quality of the price revision formula.

5.	This involves VAT in the country of works, customs duties on the imported materials, etc.

7.	If firms think there may be a delay in the works, they can take out cover against it.

8.	Contingencies here are related to uncertainties concerning tender documents, lack of knowledge of the country, etc.

9. 	General and administrative expenses are made up of firms’ fixed overheads such as accounts and quality control, management, various departments and office buildings and are common to all the firm’s works contracts. Agency expenses are expenses common to all the works in the agency’s area of responsibility.

11.	These are taxes paid in the country of the works or in the country where the firm has its place of business (for international companies).